|  | OFFICE INSPECTION CHECKLIST | Yes | No | NA |
| --- | --- | --- | --- | --- |
| 1 | Is appropriate clearance provided around electrical panels (36” in front and minimum width of 30”)? |  |  |  |
| 2 | Are electrical panels marked with voltage, current, wattage and other ratings? |  |  |  |
| 3 | Is a directory provided on each electrical panel which indicates the purpose of each circuit breaker? |  |  |  |
| 4 | Are openings in the electrical panels guarded and closed? |  |  |  |
| 5 | Is the use of extension cords prevented, discouraged or limited, and for temporary work only? |  |  |  |
| 6 | Are electrical rooms free from combustible storage? |  |  |  |
| 7 | Are wall outlet and switch plates in good condition? |  |  |  |
| 8 | Is proper clearance (18”) maintained below sprinkler heads? |  |  |  |
| 9 | Are fire extinguishers mounted, readily accessible and location identified with a label or sign? |  |  |  |
| 10 | Are fire extinguishers inspected monthly and recharged annually? |  |  |  |
| 11 | Are doors or stairways that are neither exits nor access to exits and which could be mistaken for exits, marked “NOT AN EXIT”? |  |  |  |
| 12 | Are evacuation diagrams posted throughout the building? |  |  |  |
| 13 | Are aisles and walkways at least 24” wide and free of obstructions? |  |  |  |
| 14 | Are steps on stairs and stairways designed, provided and maintained with a slip-resistant surface? |  |  |  |
| 15 | Are carpets free of buckles and tears? |  |  |  |
| 16 | Are shelves, cabinets, storage racks, etc. over 5-feet secured from falling? |  |  |  |
| 17 | If materials are stored on top of shelves, bookcases, etc., are they secured from falling? |  |  |  |
| 18 | Are first aid kits accessible, inspected monthly and replenished as needed? |  |  |  |
| 19 | Is the Cal/OSHA poster Safety and Health Protection on the Job displayed in a conspicuous location? |  |  |  |
| 20 | Are emergency telephone numbers posted? |  |  |  |

All conditions resulting in a “No” answer or needing further clarification/comment, shall be documented below.

| DETAILS & COMMENTS |
| --- |
| No. | Documentation shall be detailed so as to be self-explanatory to anyone evaluating the report, and should clearly convey the specifics relevant to the observed condition and location. |